## Slide 1: Interaction of Ions with Matter
Intensive
heavy ion pulse
30 mm
Matter block
Hadron beams slow down and stop, depositing the energy at the very end of the pass

## Slide 2: Radiation Effects
18
2
6
10
14
50 %
100 %
0 %
relative ionization
X-rays
Gamma beams
Ion beam
penetration depth
Hadron beams slow down and stop, depositing the energy at the very end of the pass.
γ-rays deposit the energy evenly through the tissue.
“Bragg”-peak

## Slide 3: Energy loss in materials

## Slide 4: Radiation Effects

## Slide 5: Physics and Biology of Radiation Therapy
Basic effect of radiation on cells:
Energy loss in matter leads to defects in the DNA – double strand breaks of the DNA kills the cell. Tumor cells have less repair capabilities than normal cells.

## Slide 6: Physics and Biology of Radiation Therapy
Low LET
homogeneous deposition of dose
High LET
Local deposition of high doses
LET: linear energy transfer

## Slide 7: Treatment of Disease
before treatment
after treatment with Carbon-ions
DNA-molecule
with a passing C-ion

## Slide 8: Treatment of Disease
after treatment with ion beam
before treatment
after treatment with Carbon-ions
survival rate dose [Gy]
penetration depth [mm H2O]
C-ions, 275 MeV/u
photons, 20 MeV

## Slide 9: Radiation Effects
Tumor
hard X-ray radiation
depth in tissue [cm]
18
2
6
10
14
50 %
100 %
0 %
dose
ion beam
Notes: 9

## Slide 10: Radiation Effects
18
2
6
10
14
50 %
100 %
0 %
Tumor
ion beam
dose
depth in tissue [cm]
Notes: 10

## Slide 11: Radiation Effects
18
2
6
10
14
50 %
100 %
0 %
Tumor
ion beam
dose
depth in tissue [cm]
Notes: 11

## Slide 12: Radiation Effects
18
2
6
10
14
50 %
100 %
0 %
Tumor
ion beam
dose
depth in tissue [cm]
Notes: 12

## Slide 13: Radiation Effects
18
2
6
10
14
50 %
100 %
0 %
Tumor
ion beam
dose
depth in tissue [cm]
Notes: 13

## Slide 14: Radiation Effects
18
2
6
10
14
50 %
100 %
0 %
Tumor
ion beam
dose
depth in tissue [cm]
Notes: 14

## Slide 15: Radiation Effects
18
2
6
10
14
50 %
100 %
0 %
Tumor
ion beam
dose
depth in tissue [cm]
Notes: 15

## Slide 16: Ion Beam Therapy
intensity controlled
raster scan procedure
magnetic deflector
ion beam
first layer
last layer

## Slide 17: Ion Beam Therapy

## Slide 18: Ion Beam Therapy
448 patients were treated with carbon beams from 1997 – 2008 using raster scanning technique

## Slide 19: Ion Beam Therapy

## Slide 20: PET - Camera
1
1
2
3
2
3
Kopf
Ion beam
PET-camera
head
bed for the patient
monitor system

## Slide 21: Course of Disease
before treatment
after treatment with ion beam

## Slide 22: Course of Disease
before treatment
6 weeks after treatment
with Carbon ion beam

## Slide 23: Heidelberg Ion-Beam Therapy Center (HIT)

## Slide 24: Heidelberg Ion-Beam Therapy Center (HIT)
Gantry

## Slide 25: Heidelberg Ion-Beam Therapy Center (HIT)

## Slide 26: Radiopharmaceuticals
p, d, 3He, 4He beams
Isotopes used for PET, SPECT and Brachytherapy etc.

## Slide 27: Radioisotope production
Accelerators (compact cyclotrons or linacs) are used to produce radio-isotopes for medical imaging.
7-11 MeV protons for short-lived isotopes for imaging
70-100 MeV or higher for longer lived isotopes.
Positron emission tomography (PET) uses Fluorine-18, half life of ~ 110 min

## Slide 28: Radioisotope production
Fluorodeoxyglucose or FDG carries the 18F to areas of high metabolic activity
90% of PET scans are in clinical oncology

## Slide 29: X-Ray Radiotherapy
Linac
Foil to produce X-rays
Collimation system
Varian medical system

## Slide 30: X-Ray Radiotherapy

## Slide 31: X-Ray Radiotherapy

## Slide 32: Equipment Sterilization
Manufacturers of medical disposables have to kill every germ on syringes, bandages, surgical tools and other gear, without altering the material itself.
E-beam sterilization works best on simple, low density products.
Advantages: takes only a few seconds (gamma irradiation can take hours)
Disadvantages: limited penetration depth, works best on simple, low density products (syringes)
The IBA rhodotron – a commercial accelerator used for e-beam sterilization